## IRR Sheet
| Name of Client |  | Shiddhivinayak Weaves, Hoziwala
| Contract Demand |  |  | KVA
| Proposed Solar Plant |  | 4000 | KW |  |  |  | Cost of Grid Power |  | 8.68 | per unit
| Shadow free Roof Required |  | 12 | Acre |  |  |  | Wheeling Charges |  | 0.2 | per unit
| Cost of Project / Wp |  | 33.05 | INR / Wp |  |  |  | Banking Charges |  | 1.5 | per Unit
| Project Cost |  | 132200000 | INR |  |  |  | Net Grid Cost |  | 6.98 | per unit
| Expected Annual Generation |  | 1600 | Per KW |  |  |  | Land Lease Cost (In Lakh) |  | 5 | per MW/Year | 5% escalation in every 5 Years
| Generation from System |  | 6400000 | units 1st Year |  |  |  | O&M Cost per KWp |  | 600 | Per KWp/Year
| Distribution Loss 10% |  | 640000 | units 1st year |  |  |  | Escalation in O&M Cost |  | 4% | Per Year
| Net Generation from System |  | 5760000 | units 1st year |  |  |  | Escalation in Electricity cost |  | 1% | per year
[8 empty] | Panel Degradation |  | 0.55% | per year
[11 empty] | IRR with Tax benefits | 34.59%
Yr | Projected Generated in Units | Power Rate in Rs./unit | Savings in Rs./year | Project Cost in Rs. | Land | O & M Expenses in Rs. | Depreciation | Balance Book Value | Tax Saving - Depreciation | Interest | Cashflow with Tax savings in Rs. | Cum. Cash Flow with Tax saving in Rs.
1 | 5760000 | 6.98 | 40204800 | 132200000 | 2000000 | 2400000 | 52880000 | 79320000 | 14806400 | 13220000 | -94808800 | -94808800
2 | 5728320 | 7.0498 | 40383510 |  | 2000000 | 2496000 | 31728000 | 47592000 | 8883840 | 11567500 | 33203850 | -61604950
3 | 5696814.24 | 7.1203 | 40563015 |  | 2000000 | 2595840 | 19036800 | 28555200 | 5330304 | 9915000 | 31382479 | -30222471
4 | 5665481.7617 | 7.1915 | 40743318 |  | 2000000 | 2699673.6 | 11422080 | 17133120 | 3198182.4 | 8262500 | 30979326.8 | 756855.8 | BREAK EVEN
5 | 5634321.612 | 7.2634 | 40924422 |  | 2000000 | 2807660.544 | 6853248 | 10279872 | 1918909.44 | 6610000 | 31425670.896 | 32182526.696
6 | 5603332.8431 | 7.3361 | 41106331 |  | 2000000 | 2919966.9658 | 4111948.8 | 6167923.2 | 1151345.664 | 4957500 | 32380209.6982 | 64562736.3942
7 | 5572514.5125 | 7.4094 | 41289048 |  | 2000000 | 3036765.6444 | 2467169.28 | 3700753.92 | 690807.3984 | 3305000 | 33638089.754 | 98200826.1482
8 | 5541865.6827 | 7.4835 | 41472578 |  | 2000000 | 3158236.2702 | 1480301.568 | 2220452.352 | 414484.439 | 1652500 | 35076326.1689 | 133277152.3171
9 | 5511385.4214 | 7.5583 | 41656924 |  | 2000000 | 3284565.721 | 888180.9408 | 1332271.4112 | 248690.6634 | 0 | 36621048.9425 | 169898201.2596
10 | 5481072.8016 | 7.6339 | 41842089 |  | 2000000 | 3415948.3498 | 532908.5645 | 799362.8467 | 149214.3981 | 0 | 36575355.0482 | 206473556.3078
11 | 5450926.9012 | 7.7103 | 42028077 |  | 2000000 | 3552586.2838 | 319745.1387 | 479617.708 | 89528.6388 | 0 | 36565019.355 | 243038575.6628
12 | 5420946.8032 | 7.7874 | 42214892 |  | 2000000 | 3694689.7352 | 191847.0832 | 287770.6248 | 53717.1833 | 0 | 36573919.4481 | 279612495.111
13 | 5391131.5958 | 7.8652 | 42402537 |  | 2000000 | 3842477.3246 | 115108.2499 | 172662.3749 | 32230.31 |  | 36592289.9854 | 316204785.0964
14 | 5361480.372 | 7.9439 | 42591016 |  | 2000000 | 3996176.4175 | 69064.95 | 103597.4249 | 19338.186 |  | 36614177.7684 | 352818962.8649
15 | 5331992.23 | 8.0233 | 42780333 |  | 2000000 | 4156023.4742 | 41438.97 | 62158.455 | 11602.9116 |  | 36635912.4373 | 389454875.3022
16 | 5302666.2727 | 8.1036 | 42970492 |  | 2000000 | 4322264.4132 | 24863.382 | 37295.073 | 6961.747 |  | 36655189.3337 | 426110064.6359
17 | 5273501.6082 | 8.1846 | 43161496 |  | 2000000 | 4495154.9897 | 14918.0292 | 22377.0438 | 4177.0482 |  | 36670518.0584 | 462780582.6944
18 | 5244497.3494 | 8.2664 | 43353349 |  | 2000000 | 4674961.1893 | 8950.8175 | 13426.2263 | 2506.2289 |  | 36680894.0396 | 499461476.7339
19 | 5215652.614 | 8.3491 | 43546054 |  | 2000000 | 4861959.6369 | 5370.4905 | 8055.7358 | 1503.7373 |  | 36685598.1004 | 536147074.8344
20 | 5186966.5246 | 8.4326 | 43739616 |  | 2000000 | 5056438.0224 | 3222.2943 | 4833.4415 | 902.2424 |  | 36684080.22 | 572831155.0544
21 | 5158438.2087 | 8.5169 | 43934039 |  | 2000000 | 5258695.5433 | 1933.3766 | 2900.0649 | 541.3454 |  | 36675884.8022 | 609507039.8565
22 | 5130066.7985 | 8.6021 | 44129326 |  | 2000000 | 5469043.365 | 1160.0259 | 1740.0389 | 324.8073 |  | 36660607.4423 | 646167647.2988
23 | 5101851.4312 | 8.6881 | 44325481 |  | 2000000 | 5687805.0996 | 696.0156 | 1044.0234 | 194.8844 |  | 36637870.7847 | 682805518.0836
24 | 5073791.2483 | 8.775 | 44522507 |  | 2000000 | 5915317.3036 |  |  |  |  | 36607189.6964 | 719412707.78
25 | 5045885.3964 | 8.8627 | 44720410 |  | 2000000 | 6151929.9957 |  |  |  |  | 36568480.0043 | 755981187.7842
| 134884904.2292 |  | 1060605660 | 132200000 | 50000000 | 99950179.8892 |  |  |  |  | 34.59%
IRR

## Cash Flow with Bank Loan
Cash Flow
Investment Cost | 132200000
Rate of Interest | 10%
Repayment in years | 8 |  | Cash Outflow |  |  | Cash Inflow
Year | No. of units produced | Net Outstanding loan from bank | Repayment in Rs. | Interest Cost in Rs. | Manitenance cost in Rs. | Savings in Electricity Cost | Tax benefit due to accelerated Depreciation' in Rs | Net Cash Outflow/ (Inflow)
0 | 0 | 132200000
1 | 5760000 | 115675000 | 16525000 | 13220000 | 2400000 | 40204800 | 14806400 | -22866200
2 | 5728320 | 99150000 | 16525000 | 11567500 | 2496000 | 40383510 | 8883840 | -18678850
3 | 5696814.24 | 82625000 | 16525000 | 9915000 | 2595840 | 40563015 | 5330304 | -16857479
4 | 5665481.7617 | 66100000 | 16525000 | 8262500 | 2699673.6 | 40743318 | 3198182.4 | -16454326.8
5 | 5634321.612 | 49575000 | 16525000 | 6610000 | 2807660.544 | 40924422 | 1918909.44 | -16900670.896
6 | 5603332.8431 | 33050000 | 16525000 | 4957500 | 2919966.9658 | 41106331 | 1151345.664 | -17855209.6982
7 | 5572514.5125 | 16525000 | 16525000 | 3305000 | 3036765.6444 | 41289048 | 690807.3984 | -19113089.754
8 | 5541865.6827 | 0 | 16525000 | 1652500 | 3158236.2702 | 41472578 | 414484.439 | -20551326.1689
9 | 5511385.4214 | 0 |  | 0 | 3284565.721 | 41656924 | 248690.6634 | -38621048.9425
10 | 5481072.8016 | 0 | 0 | 0 | 3415948.3498 | 41842089 | 149214.3981 | -38575355.0482
11 | 5450926.9012 | 0 |  | 0 | 3552586.2838 | 42028077 | 89528.6388 | -38565019.355
12 | 5420946.8032 | 0 |  | 0 | 3694689.7352 | 42214892 | 53717.1833 | -38573919.4481
13 | 5391131.5958 | 0 |  | 0 | 3842477.3246 | 42402537 | 32230.31 | -38592289.9854
14 | 5361480.372 | 0 |  | 0 | 3996176.4175 | 42591016 | 19338.186 | -38614177.7684
15 | 5331992.23 | 0 |  | 0 | 4156023.4742 | 42780333 | 11602.9116 | -38635912.4373
16 | 5302666.2727 | 0 |  | 0 | 4322264.4132 | 42970492 | 6961.747 | -38655189.3337
17 | 5273501.6082 | 0 |  | 0 | 4495154.9897 | 43161496 | 4177.0482 | -38670518.0584
18 | 5244497.3494 | 0 |  | 0 | 4674961.1893 | 43353349 | 2506.2289 | -38680894.0396
19 | 5215652.614 | 0 |  | 0 | 4861959.6369 | 43546054 | 1503.7373 | -38685598.1004
20 | 5186966.5246 | 0 |  | 0 | 5056438.0224 | 43739616 | 902.2424 | -38684080.22
21 | 5158438.2087 | 0 |  | 0 | 5258695.5433 | 43934039 | 541.3454 | -38675884.8022
22 | 5130066.7985 | 0 |  | 0 | 5469043.365 | 44129326 | 324.8073 | -38660607.4423
23 | 5101851.4312 | 0 |  | 0 | 5687805.0996 | 44325481 | 194.8844 | -38637870.7847
24 | 5073791.2483 | 0 |  | 0 | 5915317.3036 | 44522507 | 0 | -38607189.6964
25 | 5045885.3964 | 0 |  | 0 | 6151929.9957 | 44720410 | 0 | -38568480.0043